## List 1
PICT. | POS. | PART NR | DESCRIPTION | FROM | TO | NOTES
1 | 1 | 20630235 | SUPPORT PANEL | 2009-June |  | BLACK RAL 9005 | 24.486
1 | 2 | 20631583 | BURNER PANEL | 2009-June |  | RED RAL 3000 | 30.723
1 | 3 | 20621824 | GLASS FIXING RING | 2009-June |  |  | 3.444
1 | 4 | 20800019 | INSPECTION GLASS | 2009-June |  | D. 35mm | 1.7316
1 | 5 | 20632231 | BURNER COVER | 2009-June |  | RED RAL 3000 | 142.3045
1 | 6 | 20631260 | FRONT LOWER PANEL | 2009-June |  | RED RAL 3000 | 49.143
1 | 7 | 20631608 | AIR OUTLET PANEL | 2009-June |  | RED RAL 3000 | 121.7947
1 | 8 | 20620115 | PROBE BRACKET | 2009-June |  |  | 5.6018
1 | 10 | 20621338 | PROBE STIRRUP | 2009-June |  |  | 4.5622
1 | 11 | 20620087 | FIX PROBE STIRRUP | 2009-June |  |  | 2.31
1 | 12 | 20090007 | COMBUSTION CHAMBER | 2009-June |  |  | 2035.2929
1 | 13 | 20631434 | UPPER FRONT PANEL | 2009-June |  | RED RAL 3000 | 42.9083
1 | 14 | 20632113 | LEFT SIDE PANEL | 2009-June |  | RED RAL 3000 | 148.7826
1 | 15 | 20631464 | UPPER REAR PANEL | 2009-June |  | RED RAL 3000 | 45.5647
1 | 16 | 20631495 | EXHAUST PANEL | 2009-June |  | RED RAL 3000 | 41.9265
1 | 17 | 20631559 | FLUE PANEL | 2009-June |  | RED RAL 3000 | 13.6867
1 | 19 | 20490027 | CAPACITOR | 2009-June |  | 40uF 450V with cable | 19.95
1 | 20 | 20400071 | MOTOR | 2009-June |  | 1,5kW 220V 60Hz 4p | 432.1028
1 | 21 | 20260036 | PULLEY | 2009-June |  | D. 85 x 1A | 64.9035
1 | 22 | 20020027 | BELT | 2009-June |  | A x 46 | 19.359
1 | 23 | 20260011 | PULLEY | 2009-June |  | D. 160 x 1 | 97.0027
1 | 24 | 20632080 | CAGE | 2009-June |  | RED RAL 3000 | 562.7341
1 | 25 | 20200018 | CENTRIFUGAL FAN | 2009-June |  | BC12/12 | 330.2674
1 | 26 | 20621211 | BRACKET | 2009-June |  |  | 7.3342
1 | 27 | 20390142 | CABLE | 2009-June |  | 3x4 | 7.9928
1 | 28 | 20620117 | INSPECTION COVER | 2009-June |  |  | 6.2994
1 | 29 | 20060001 | GASKET | 2009-June |  |  | 8.349
1 | 30 | 20631416 | MOTOR PANEL | 2009-June |  | RED RAL 3000 | 87.2869
1 | 31 | 20632112 | RIGHT SIDE PANEL | 2009-June |  | RED RAL 3000 | 148.7826
1 | 32 | 20621006 | LOWER BASE PANEL | 2009-June |  |  | 88.3104
1 | FIG.2 | 20480027 | ELECTRICAL BOX ASSEMBLY | 2009-June |  |  | 431.1825
1 |  | 20590044 | BURNER | 2009-June |  | Riello 40-F10 | #N/A

## List 2
PICT. | POS. | PART NR | DESCRIPTION | FROM | TO | NOTES
2 | 1 | 20480000 | ELECTRICAL BOX | 2009-June |  | IP56 | 52.8785
2 | 2 | 20320007 | SWITCH | 2009-June |  |  | 14.6295
2 | 3 | 20360005 | SAFETY SWITCH | 2009-June |  | LS1 CAPIL. 100°C | 15.8815
2 | 4 | 20430002 | THERMOSTAT SOCKET | 2009-June |  | CK03I | 1.5159
2 | 5 | 20430000 | THERMOSTAT SOCKET | 2009-June |  | CKF03 | 2.2066
2 | 6 | 20430001 | THERMOSTAT PLUG | 2009-June |  | CKM03 | 2.3866
2 | 7 | 20430003 | THERMOSTAT PLUG | 2009-June |  | CK03V | 1.7263
2 | 8 | 20310003 | CABLE CLAMP | 2009-June |  | PG13,5 with nut | 1.2064
2 | 9 | 20310009 | CABLE CLAMP | 2009-June |  | PG11 with nut | 1.1059
2 | 10 | 20320010 | THERMAL RELAY | 2009-June |  | 9,6 - 16 A | 42.4995
2 | 11 | 20070030 | CONNECTOR | 2009-June |  | RKN1422 | 5.2911
2 | 12 | 20370002 | REMOTE SWITCH | 2009-June |  | KNL16-10 16A 230V 50/60Hz 1NO | 40.4389
2 | 13 | 20340009 | TERMINAL BOARD | 2009-June |  | 12 POLI OK 434-NY-LP | 4.0309
2 | 14 | 20360004 | FAN/LIMIT THERMOSTAT | 2009-June |  | TR2 0° / 90° C | 15.5686

## List 3
PICT. | POS. | OLD PART NR | PART NR | DESCRIZIONE | DESCRIPTION | FROM | TO | NOTES
3 | 1 | R003007234 | - | COFANO | COVER | 2009-June
3 | 2 | R003006992 | - | TUBO DI ANDATA | PIPE CONNECTOR - SUPPLY | 2009-June
3 | 3 | R003006571 | - | RACCORDO | FITTING | 2009-June |  | 3/8" NPT/Metric adapter - Male
3 | 4 | R003006993 | - | TUBO DI RITORNO | PIPE CONNECTOR - RETURN | 2009-June
3 | 5 | R003005847 | - | RACCORDO | FITTING | 2009-June |  | 1/4" NPT/Metric adapter - Female
3 | 6 | R003007077 | - | RONDELLA | WASHER | 2009-June
3 | 7 | R003007568 | - | VALVOLA DI SCARICO | BLEEDER | 2009-June
3 | 8 | R003007028 | - | O-RING | O-RING | 2009-June |  | Pump pressure regulator
3 | 9 | R003007202 | - | VITE DI REGOLAZIONE | REGULATOR SCREW | 2009-June
3 | 10 | R003007162 | - | O-RING | O-RING | 2009-June |  | Pump cover
3 | 11 | R003005719 | - | SCHERMO POMPA | PUMP SCREEN | 2009-June
3 | 12 | R003006925 | 20800078 | STELO VALVOLA | VALVE STEM | 2009-June
3 | 13 | R003007203 | - | PIASTRA STELO VALVOLA | VALVE STEM PLATE | 2009-June
3 | 14 | R003007029 | - | O-RING | O-RING | 2009-June |  | Valve stem upper
3 | 15 | R003007156 | - | O-RING | O-RING | 2009-June |  | Valve stem lower
3 | 16 | R003007268 | - | UGELLO | NOZZLE | 2009-June
3 | 17 | R003007087 | - | RONDELLA | WASHER | 2009-June
3 | 18 | R003001157 | - | APPARECCHIATURA C.F. | CONTROL BOX | 2009-June |  | 530SE/C
3 | 19 | R003002278 | - | APPARECCHIATURA C.F. | CONTROL BOX | 2009-June |  | Sub base
3 | 20 | R003006553 | 20800075 | STAFFA U BOBINA E DADO | COIL U-BRACKET AND NUT | 2009-June
3 | 21 | R003002279 | - | BOBINA | COIL | 2009-June
3 | 22 | R003007802 | - | POMPA | PUMP | 2009-June
3 | 23 | R003000443 | - | GIUNTO | PUMP DRIVE KEY | 2009-June
3 | 24 | R003005843 | - | MOTORE | MOTOR | 2009-June
3 | 25 | R003007317 | - | COPERCHIO TUBO ARIA | AIR TUBE COVER | 2009-June
3 | 26 | R003002280 | 20800176 | FOTOCELLULA | PHOTO-CELL | 2009-June
3 | 27 | R003005854 | - | SEMIFLANGIA | SEMIFLANGE | 2009-June
3 | 28 | R003005855 | - | FLANGIA | FLANGE | 2009-June
3 | 29 | R003005856 | - | GUARNIZIONE | GASKET | 2009-June
3 | 30 | R003005788 | - | VENTOLA | FAN | 2009-June
3 | 31 | R003005844 | - | CONDENSATORE | CAPACITOR | 2009-June |  | 12,5uF
3 | 32 | R003007357 | - | PROTEZIONE ACUSTICA | PHONO ABSORBENT | 2009-June
3 | 33 | R003007205 | 20800080 | REG. INGRESSO ARIA | MANUAL AIR SHUTTER | 2009-June
3 | 34 | R003007209 | - | CASSETTO ASP. ARIA | AIR INTAKE HOUSING | 2009-June
3 | 40 | R003949071 | - | TESTA DI COMB. CORTA | SHORT COMB. HEAD | 2009-June |  | 5" (273T1)
3 | 41 | R003006978 | 20800079 | DISCO TURBOLATORE | TURBULATOR DISC | 2009-June
3 | 42 | R003006966 | - | SUPPORTO ELETTRODO | ELECTRODE SUPPORT | 2009-June
3 | 43 | R003006965 | - | ADATTATORE UGELLO | NOZZLE ADAPTER | 2009-June
3 | 44 | R003006979 | - | TUBO GASOLIO ALL'UGELLO | NOZZLE OIL TUBE | 2009-June |  | Short
3 | 45 | R003005888 | - | REGOLATORE ASSEMBLATO | REGULATOR ASSEMBLY | 2009-June |  | Short
3 | 46 | R003005890 | - | ELETTRODO ASSEMBLATO | ELECTRODE ASSEMBLY | 2009-June |  | Short
3 | 47 | R003005869 | - | CORPO ELETTRODO | BODY ELECTRODE | 2009-June |  | Porcelain
3 | 48 | R003006981 | - | TUBO ARIA CORTO | SHORT AIR TUBE | 2009-June
3 | 49 | R003006983 | - | ADATTATORE CONO | END CONE ADAPTER | 2009-June
3 | 50 | R003006984 | - | CONO | END CONE | 2009-June
3 | 60 | R003008055 | - | TUBO CAPILLARE | CAPILLARY TUBE | 2009-June |  | OPTIONAL
3 | 61 | R003006911 | 20800077 | MARTINETTO | HYDRAULIC JACK | 2009-June |  | OPTIONAL
3 | 62 | R003000879 | - | OTTURATORE IDRAULICO | HYDRAULIC AIR SHUTTER | 2009-June |  | OPTIONAL