## List 1
PICT. | POS. | PART NR | DESCRIPTION | FROM | TO | NOTES
1 | 1 | 20630235 | SUPPORT PANEL | 2009-June |  | BLACK RAL 9005 | #REF!
1 | 2 | 20631575 | BURNER PANEL | 2009-June |  | RED RAL 3000 | #REF!
1 | 3 | 20621824 | GLASS FIXING RING | 2009-June |  |  | #REF!
1 | 4 | 20800019 | INSPECTION GLASS | 2009-June |  | D. 35mm | #REF!
1 | 5 | 20630540 | BURNER COVER | 2009-June |  | RED RAL 3000 | #REF!
1 | 6 | 20631264 | FRONT LOWER PANEL | 2009-June |  | RED RAL 3000 | #REF!
1 | 7 | 20631616 | AIR OUTLET PANEL | 2009-June |  | RED RAL 3000 | #REF!
1 | 8 | 20620116 | PROBE BRACKET | 2009-June |  |  | #REF!
1 | 10 | 20621338 | PROBE STIRRUP | 2009-June |  |  | #REF!
1 | 11 | 20620087 | FIX PROBE STIRRUP | 2009-June |  |  | #REF!
1 | 12 | 20090009 | COMBUSTION CHAMBER | 2009-June |  |  | #REF!
1 | 13 | 20631451 | UPPER FRONT PANEL | 2009-June |  | RED RAL 3000 | #REF!
1 | 14 | 20632108 | LEFT SIDE PANEL | 2009-June |  | RED RAL 3000 | #REF!
1 | 15 | 20631482 | UPPER REAR PANEL | 2009-June |  | RED RAL 3000 | #REF!
1 | 16 | 20631512 | EXHAUST PANEL | 2009-June |  | RED RAL 3000 | #REF!
1 | 17 | 20631567 | FLUE PANEL | 2009-June |  | RED RAL 3000 | #REF!
1 | 19 | 20490028 | CAPACITOR | 2009-June |  | 90uF 450V with cable | #REF!
1 | 20 | 20400072 | MOTOR | 2009-June |  | 3,0kW 230V 60Hz 4p | #REF!
1 | 21 | 20260037 | PULLEY | 2009-June |  | D. 90 x 2A x bush 16 | #REF!
1 | 22 | 20020016 | BELT | 2009-June |  | A x 53 13 x 1350 | #REF!
1 | 23 | 20260015 | PULLEY | 2009-June |  | D. 180 X 2 | #REF!
1 | 24 | 20632110 | CAGE | 2009-June |  | RED RAL 3000 | #REF!
1 | 25 | 20200019 | CENTRIFUGAL FAN | 2009-June |  | BC15/15 | #REF!
1 | 26 | 20621211 | BRACKET | 2009-June |  |  | #REF!
1 | 27 | 20390142 | CABLE | 2009-June |  | 3x4 | #REF!
1 | 28 | 20620117 | INSPECTION COVER | 2009-June |  |  | #REF!
1 | 29 | 20060001 | GASKET | 2009-June |  |  | #REF!
1 | 30 | 20631424 | MOTOR PANEL | 2009-June |  | RED RAL 3000 | #REF!
1 | 31 | 20632109 | RIGHT SIDE PANEL | 2009-June |  | RED RAL 3000 | #REF!
1 | 32 | 20621031 | LOWER BASE PANEL | 2009-June |  |  | #REF!
1 | FIG.2 | 20480056 | ELECTRICAL BOX ASS.Y | 2009-June |  |  | #REF!
1 |  | 20590042 | BURNER | 2009-June |  | Riello 40-F15 | #REF!

## List 2
PICT. | POS. | PART NR | DESCRIPTION | FROM | TO | NOTES
2 | 1 | 20480000 | ELECTRICAL BOX | 2009-June |  | IP56
2 | 2 | 20320007 | SWITCH | 2009-June
2 | 3 | 20360005 | SAFETY SWITCH | 2009-June |  | LS1 CAPIL. 100°C
2 | 4 | 20430002 | THERMOSTAT SOCKET | 2009-June |  | CK03I
2 | 5 | 20430000 | THERMOSTAT SOCKET | 2009-June |  | CKF03
2 | 6 | 20430001 | THERMOSTAT PLUG | 2009-June |  | CKM03
2 | 7 | 20430003 | THERMOSTAT PLUG | 2009-June |  | CK03V
2 | 8 | 20310003 | CABLE CLAMP | 2009-June |  | PG13,5 with nut
2 | 9 | 20310009 | CABLE CLAMP | 2009-June |  | PG11 with nut
2 | 10 | 20320028 | THERMAL RELAY | 2009-June |  | 15 - 25 A
2 | 11 | 20070030 | CONNECTOR | 2009-June |  | RKN1422
2 | 12 | 20370005 | REMOTE SWITCH | 2009-June |  | KNL22.00 230V 50/60Hz ISKRA
2 | 13 | 20340009 | TERMINAL BOARD | 2009-June |  | 12 POLI OK 434-NY-LP
2 | 14 | 20360004 | FAN/LIMIT THERMOSTAT | 2009-June |  | TR2 0° / 90° C

## List 3
PICT. | POS. | OLD PART NR | PART NR | DESCRIZIONE | DESCRIPTION | FROM | TO | NOTES
3 | 1 | R003006911 | 20800077 | MARTINETTO | HYDRAULIC JACK | 2009-June
3 | 2 | R003006914 | - | TUBO CAPILLARE | CAPILLARY TUBE | 2009-June
3 | 3 | R003000880 | - | OTTURATORE IDRAULICO | HYDRAULIC AIR SHUTTER | 2009-June
3 | 4 | R003005799 | - | VENTOLA | FAN | 2009-June
3 | 5 | R003005846 | - | CONDENSATORE | CAPACITOR | 2009-June |  | 16uF
3 | 6 | R003006994 | - | TUBO | PIPE CONNECTOR | 2009-June
3 | 7 | R003005847 | - | RACCORDO | FITTING | 2009-June |  | 1/4" NPT/Metric adapter - Female
3 | 8 | R003006571 | - | RACCORDO | FITTING | 2009-June |  | 3/8" NPT/Metric adapter - Male
3 | 9 | R003007077 | - | RONDELLA | WASHER | 2009-June
3 | 10 | R003007028 | - | O-RING | O-RING | 2009-June |  | Pump pressure regulator
3 | 11 | R003007162 | - | O-RING | O-RING | 2009-June |  | Pump cover
3 | 12 | R003005719 | - | SCHERMO POMPA | PUMP SCREEN | 2009-June
3 | 13 | R003006036 | - | STELO VALVOLA | VALVE STEM | 2009-June
3 | 14 | R003007029 | - | O-RING | O-RING | 2009-June |  | Valve stem upper
3 | 15 | R003007156 | - | O-RING | O-RING | 2009-June |  | Valve stem lower
3 | 16 | R003007268 | - | UGELLO | NOZZLE | 2009-June
3 | 17 | R003006553 | 20800075 | STAFFA U BOBINA E DADO | COIL U-BRACKET AND NUT | 2009-June
3 | 18 | R003002279 | - | BOBINA | COIL | 2009-June
3 | 19 | R003005906 | - | POMPA | PUMP | 2009-June
3 | 20 | R003000443 | - | GIUNTO | PUMP DRIVE KEY | 2009-June
3 | 21 | R003005845 | - | MOTORE | MOTOR | 2009-June
3 | 22 | R003002278 | - | APPARECCHIATURA C.F. | CONTROL BOX | 2009-June |  | Sub base
3 | 23 | R003007203 | - | PIASTRA | PLATE | 2009-June
3 | 24 | R003001157 | - | APPARECCHIATURA C.F. | CONTROL BOX | 2009-June |  | 530SE/C
3 | 25 | R003002280 | 20800176 | FOTOCELLULA | PHOTO-CELL | 2009-June
3 | 26 | R003005849 | - | SEMIFLANGIA | SEMIFLANGE | 2009-June
3 | 27 | R003005851 | - | FLANGIA | FLANGE | 2009-June
3 | 28 | R003005852 | - | GUARNIZIONE | GASKET | 2009-June
3 | 29 | R003007202 | - | REGOLATORE | REGULATOR | 2009-June
3 | 30 | R003007318 | - | COPERCHIO ARIA | AIR PLATE COVER | 2009-June
3 | 31 | R003007224 | - | TELAIO | CHASSIS FRONT PLATE | 2009-June
3 | 32 | R003007206 | - | OTTURATORE MANUALE | MANUAL AIR SHUTTER | 2009-June
3 | 33 | R003007211 | - | CASSETTO ASP. ARIA | AIR INTAKE HOUSING | 2009-June
3 | 34 | R003007235 | - | COPERCHIO | COVER | 2009-June
3 | 35 | R003007087 | - | RONDELLA | WASHER | 2009-June
3 | 36 | R003007358 | - | PROTEZIONE ACUSTICA | PHONO ABSORBENT | 2009-June
3 | 40 | R003949171 | - | TESTA DI COMB. CORTA | SHORT COMB. HEAD | 2009-June |  | 5" (274T1)
3 | 41 | R003005897 | - | DISCO TURBOLATORE | TURBULATOR DISC | 2009-June
3 | 42 | R003005896 | - | STAFFA PORTA ADATT. | CROSS-CASTING | 2009-June
3 | 43 | R003006965 | - | ADATTATORE UGELLO | NOZZLE ADAPTER | 2009-June
3 | 44 | R003006985 | - | TUBO GASOLIO ALL'UGELLO | NOZZLE OIL TUBE | 2009-June
3 | 45 | R003005900 | - | REGOLATORE ASSEMBLATO | REGULATOR ASSEMBLY | 2009-June
3 | 46 | R003005902 | - | ELETTRODO ASSEMBLATO | ELECTRODE ASSEMBLY | 2009-June
3 | 47 | R003005869 | - | CORPO ELETTRODO | BODY ELECTRODE | 2009-June
3 | 48 | R003005892 | - | TUBO ARIA CORTO | SHORT AIR TUBE | 2009-June
3 | 49 | R003005895 | - | CONO | END CONE | 2009-June